## Slide 1: Irradiance Meter
Alex Polyanskiy
Montana State University
Bozeman, MT

## Slide 2: Measuring Solar Irradiance
Solar Irradiance is radiant flux (power) per unit area () received from the sun
A pyranometer measure global irradiance (direct + diffused)
Thermopile | Photodiode | Reference Cell
Flat Spectral Response Highest Accuracy Most Expensive Not used in handheld meters | Spectrally Selective, not what a panel sees Least Accurate Least Expensive Requires angle correction | Closely matches PV panel spectral response Accurate to PV Panels Cost depends on the Cell Calibration Sees what a solar panel sees
2

## Slide 3: First Design
Microcontroller
Solar Cell
Inclinometer
Temperature Sensor
LCD
3

## Slide 4: Results
4
Chart: Irradiance Measurement Comparison
| July 22, 1:00pm | July 23, 5:00pm | July 29, 11:00am (Wind) | July 29, 5:30pm | July 30, 10:00am | August 1, 10:30am (wind)
Solsensor (Photodiode) | 865 | 75 | 755 | 475 | 155 | 555
Seaward (Reference Cell) | 886 | 0 | 754 | 450 | 162 | 539
First Design (Reference Cell) | 853 | 65 | 756 | 480 | 153 | 565
S - low | 855 | 55 | 745 | 465 | 135 | 525
Sea - low | 880 | 0 | 750 | 446 | 154 | 522
I - low | 849 | 50 | 733 | 472 | 134 | 538
Inv. Value | 935

## Slide 5: Model 2
LDC
Solar Cell
Bluetooth
Buttons
Mounting Holes
Thermocouple
5

## Slide 6: Additional Tasks
Solar Panel Research
DC Combiner Box Research
Solar Simulator Research
Calibration Techniques
6

## Slide 7: Internship Take-aways
Design Review, what to consider, how to select parts
PCB Design
Error Analysis
Working with Computer Engineering and Mechanical Engineering
Corporate Environment
Meetings
7

## Slide 8: Feedback
Positive
  Great coffee machine
  Great experience with a project (from nothing to a final product)
  Everyone will take time and help
  Freedom
  Multidisciplinary
  Feedback from Josh and Paul
Improvement
  Intern events at the beginning of internship
8